ICC-SRCC™/ ICC-SWCC™ SURVEILLANCE

INSPECTION REPORTING FORM

| 1A. GENERAL- INSPECTOR |
| --- |
| Report Number: |  | Date of Inspection: |  |
| Lead Inspector Name: |  | Inspection Organization: |  |
| Other Inspector(s): |  | Inspection Type: | In-Person |
|  |  |  | Remote (Video) |
| Lead Inspector Email: |  | Witnessed/Audited? | Yes No |
| Lead Inspector Phone: |  | Witness/Auditor Name |  |  |
| 1B. GENERAL- FACTORY |
| Factory Name & Address: |  |
| Primary Factory Contact Name/Title |  |
| Phone/e-Mail |  |
| Names/Titles of Other Inspection Participants: |  |

| 2. PRODUCTS COVERED BY THIS INSPECTION REPORT (attach additional sheets as needed) |
| --- |
| ICC-SRCC CERTIFICATION NUMBER | PRODUCT TYPE* | MODELNAME/NO. | IN PRODUCTION? (Y/N) |

*e.g. Solar Collector, Solar Water Heating System, Wind Turbine

3. INSPECTION RESULTS SUMMARY

|  | All satisfactory, no Significant non-conformities |
| --- | --- |
|  | nonconformities Identified | Number of Nonconformities: |  |
|  | OTHER. (Products destroyed/released for sale; impoundment; recall required): |  |

| Remarks: |
| --- |
| 4. SIGNATURES By signing below, the lead inspector attests that the information provided is accurate to the best of their knowledge, and that they have no undeclared conflicts of interest with the manufacturer and/or listee. By signing, the manufacturer’s representative acknowledges the findings of this inspection report and any non-conformities. Both parties may enter any remarks for the benefit of the certification body reviewer. |
| LEAD INSPECTOR | MANUFACTURER’S REPRESENTATIVE |
| Signature and date | Signature and date |
| Print name | Print Name |
|  | Title: |

5. QUALITY MANAGEMENT SYSTEM ASSESSMENT

Part A: Review of Policies, Procedures and Records (Document Check)

Evaluate the policies, procedures and records associated with the Quality Management System used to produce the certified products.

| TOPIC | EFFECTIVELY IMPLEMENTED? | NOTES |
| --- | --- | --- |
| Quality Management System. |  |  |
| Quality Management System (QMS) maintained and implemented in the production the certified products. | yes no |  |
| Policy to require design changes of certified products to be reported to ICC-SRCC promptly implemented. | yes no |  |
| List current Quality Manual (Name/Rev/Date) |  |
| Complaints. Procedures for processing of complaints received for the certified products are implemented. Records of complaints and of actions taken are maintained. | yes no |  |
| List all formal complaints for certified products received over the last 24 months and resolution. |  |
| Training of Personnel. Procedures for the training and evaluation of personnel involved in fabrication and performing qualify functions are implemented. | yes no |  |
| Confirm training records are maintained and training is ongoing. |  |
| Calibration. |  |  |
| Procedures maintaining the calibration of testing, measuring and inspection equipment used for production control of the certified products are implemented. | yes no |  |
| Key calibrated devices marked, current & controlled per the QMS. | yes no |  |
| Calibration providers comply with ISO/IEC 17025 | yes no |  |
| Confirm accreditation of calibration providers by a signatory to the Mutual Recognition Arrangement of the International Laboratory Accreditation Cooperation (ILAC MRA). |  |
| Finished Product Inspection. Procedures for testing, inspection and/or acceptance of final product are implemented. | yes no |  |
| Identify test equipment used to check whether products meet specifications |  |
| Part A Remarks: |
| Part A Non-Conformities and Opportunities for Improvement: |

Part B: Incoming Goods Checks

Evaluate the location(s) where any inspections of incoming goods (raw materials, components and sub-assemblies) are conducted and verify compliance with the current Quality Management System.  If no incoming goods inspections conducted explain below.

| TOPIC | EFFECTIVELY IMPLEMENTED? | NOTES |
| --- | --- | --- |
| Incoming materials and goods are inspected in accordance with manufacturer procedures. | yes no |  |
| List inspections conducted for goods related to certified products. |  |
| Results of incoming goods inspections are recorded. | yes no |  |
| Any test equipment or measurement devices are present and are labeled with calibration marking. | yes no |  |
| Identify test equipment used to check whether materials and goods meet specifications |  |
| Instructions are readily available for personnel conducting inspections. | yes no |  |
| Part B Remarks: |
| Part B Non-Conformities and Opportunities for Improvement: |

Part C: Factory Production Facility Check

Evaluate the location(s) where any manufacturing activities for the certified products are conducted and verify compliance with procedures above.  If no onsite factory production in place, explain below (e.g. site assembled product).  Inspection during periods when production is in operation is preferred, but not mandatory.  If the production line is not operating, the inspector should review recent past production records to assess compliance.

| TOPIC | EFFECTIVELY IMPLMENTED? | NOTES |
| --- | --- | --- |
| Procedures for operating manufacturing equipment to produce the certified products are readily available for personnel | yes no |  |
| Any test equipment or measurement devices for production quality checks are present and are labeled with calibration marking. | yes no |  |
| Identify test equipment used to check whether products meet specifications |  |
| Results of production quality checks are recorded. | yes no |  |
| Non-conforming products are marked, isolated, or otherwise controlled. | yes no |  |
| Products are handled, packaged, and stored to prevent damage or deterioration. | yes no |  |
| Products are marked in accordance with ICC-SRCC requirements. | yes no |  |
| Provide examples/photos of product marking/labels showing SRCC certification mark for solar thermal products. OG-100 collectors must be labeled on product. OG-300 and OG-400 labels are field-applied. Product marking not required for small wind turbines. See ICC-SRCC Rules for Mark and Certificate Use for more information. |  |
| Was the production facility in operation at the time of inspection? | yes no |  |
| Production facility is not required to be in operation at the time of inspection. If Yes, note the specific product(s) under production at the time of inspection in Part 2. |  |
| Part C Remarks: |
| Part C Non-Conformities and Opportunities for Improvement: |

Part D: Product Audit

One certified product model is selected for additional review (audit). Design control measures must be implemented to document and maintain the specifications and design of all materials, components, and sub-assemblies for the certified products.  Product labeling must be implemented in accordance with ICC-SRCC requirements.

Evaluate the application of design control and labeling measures by selecting one certified product from the list in Section 2.  The product to be evaluated may be specified by ICC-SRCC in advance.  If not, the inspector should select a certified product at random.  Where possible, the inspector should assess a different product from those assessed in previous inspections.  Identify the product selected for evaluation below:

| ASSESSED PRODUCT MODEL NAME/NO. | ICC-SRCC CERTIFICATION NO. | CERTIFICATION TYPE |
| --- | --- | --- |
|  |  | OG-100 OG-300 OG-400 Listing |

| TOPIC | COMPLIANT? | NOTES |
| --- | --- | --- |
| Design Control. Specifications for the products are documented and maintained for the selected product. Includes: Material specifications for manufactured components Manufactured component design drawings BOM/Parts List including manufactured and off-the-shelf components Assembly drawings (OG-100) and system schematics (OG-300, OG-400) | yes no |  |
| List all assessed documents in the table below. |  |
| Change Management. List all recorded changes to the product design or specifications over the last 24 months. | yes no |  |
| List all assessed documents in the table below. If it is noted that any changes have been made that were not reported to ICC-SRCC, note the document name/number showing the change. |  |
| Manual. Installation and operation manuals for the product are available and up to date. | yes no |  |
| List the manual with the documents in the table below. If the manual has been revised in the last 24 months, obtain a copy and submit with this report. |  |
| Labeling. Product is labeled in accordance with the requirements of the ICC Rules for Mark and Certificate Use and the applicable standards. | yes no |  |
| Provide examples/photos of product marking/labels showing SRCC certification mark for solar thermal products. OG-100 collectors must be labeled on product. OG-300 and OG-400 labels are field-applied. Product marking not required for small wind turbines. See ICC-SRCC Rules for Mark and Certificate Use for more information. |  |

List the name/number of key documents and design drawings assessed for the selected product.  Must include revision number and date.  Add rows to the list as needed.

| DOCUMENT ID (Name or number/revision/date) | NOTES |
| --- | --- |
| Part D Remarks: |
| Part D Non-Conformities and Opportunities for Improvement: |

PART E: NON-CONFORMITIES

Identify and describe each non-conformity individually.  In the Reference Section, list the specific section above where the non-conformity was observed (e.g. C4).  If the non-conformity pertained a specific product, provide the model number associated.  Provide a brief description of the non-conformity and rate the significance with respect to its impact on safety and the certification.  Describe recommended actions (optional) to resolve the non-conformity through a subsequent corrective action.  Minor non-conformances can be resolved at the time of inspection if they can be verified immediately by the inspector.  Corrected non-conformances should be described below, indicating the resolution.  Opportunities for improvement should not be reported as non-conformities. Make additional copies of this form as needed.

NON-CONFORMITY: 1

| Reference Section: |  |
| --- | --- |
| Description of Non-Conformity: |  |
| Significance: | Very Low Low Medium High Very High |
| Recommended Action: |  |

NON-CONFORMITY: 2

| Reference Section: |  |
| --- | --- |
| Description of Non-Conformity: |  |
| Significance: | Very Low Low Medium High Very High |
| Recommended Action: |  |

NON-CONFORMITY: 3

| Reference Section: |  |
| --- | --- |
| Description of Non-Conformity: |  |
| Significance: | Very Low Low Medium High Very High |
| Recommended Action: |  |